## Slide 1: Strategic Asset Management
Steps to creating a Foundation for Managing our Facilities:
Create individual programs for asset classes, consider:
  Function
  Tier
  Uniformat
  Failure Modes
Inventory, collect data, tag assets
Describe preventive maintenance programs
Estimate PM effort and modify programs to fit the funding
Load into CMMS (data in ONE place)

## Slide 2: What is an “asset”?
Anything that has value to the institution – people, reputation, endowment, facilities……

## Slide 3: So what! How does asset management apply to project managers?
Every project touches assets
Costs of not managing assets
  Increased utility cost
  Decreased service life
  Increased maintenance cost
  Decreased staff and faculty productivity
  Decreased reliability

## Slide 4
Accurate and complete data is required to effectively manage assets. This requires everyone involved with assets to consider themselves a “data steward” and feel personally responsible for collecting and maintaining reliable data.
A written asset management plan (AMP) for each asset class, eg, roofs or backflow preventor, will document details about each asset class and how data will be used to manage the asset class. Appendix XX is a table of asset classes and individuals/organizations responsible for managing that asset class.
Strategic Asset Management Plan

## Slide 5
Asset or System Name | SME | Program Author
AC Drive |  | Jeff Parsons
Access Controls |  | Jeff Parsons
Air Handler Units | Eric Lepore, Liz Kolacki | Matt Johnston/Liz Kolacki
Air Stations (Compressors) | Mark Fossaceca | Kevin Samson
Backflow Preventer | Tom Jordan | Gibbs
Boilers | Liz Kolacki | Dan Decker
Bridges including means restriction | Rob Murray | Rob Murray
Carbon Monoxide Detector - not lab gas detection systems |  | Alex Chevallard
Chimney/Vent Systems |  | Shane Dunn/Rob Murray
Controls |  | Mark Howe/Cole Tucker/Jim Hatch
Cooling Tower | Vince Knapp | Steve Cobb
Cranes and Hoists |  | Marc Marinchak
Dampers / Actuators, including fire/smoke dampers/ lab airflow devices/ VAV boxes |  | Liz Kolacki
Dining Equipment |  | Marijane Johnson, Pat Graham, Forrest McCloud
Domestic Water Heater | Travis Fisher | Dan Decker
Doors and hardware | Michael Hingston | Alex Chevallard
Drapery and Curtain | Nadine Hachmann | Asa Schindler
Asset or System Name | SME | Program Author
Electric Motors |  | 
Emergency Light | Chris Wayman | Chris Wayman
Emergency Power Supply System (EPSS) (tier 1 for some facilties) | Chris Wayman | Chris Wayman
Emergency Egress Stairs |  | 
Evaporative Coolers (both pad and swamp coolers) | Vince Knapp | Steve Cobb
Exterior Enclosure (B20) |  | Quinn Olsen/Matt Reiter/Elisabete Godden/Shane Dunn
Fan Coil Units |  | Vince/Scott Burke/ Alyssa
Fans |  | Travis Fisher/Alyssa
Filter Racks |  | Tom Jordan
Fire Detection & Alarm System | Mark Scholeno | Mark Scholeno
Fire Escapes |  | Quinn Olsen and Matt Reiter
Fire Suppression Systems (sprinklers and halon and kitchen hood) | Tom Jordan | Tom Jordan
Fuel Tanks |  | 
Fume Hoods and fans |  | Liz Kolacki/Vince Knapp
Grease Laden Kitchen Exhaust Systems and fans | Pat Ockenfels | Dan Decker
Asset Management Plans (AMP)

## Slide 6
Asset or System Name | SME | Program Author
Greenhouse Shade Curtains | Deb Melanson | Steve Cobb
Heat Exchangers |  | Eric Lepore/ Travis Fisher
Heat Tracing (Electric & Hydronic) |  | 
Humidifiers both central and point | Liz Kolacki | 
HVAC related direct expansion refrigerant equipment (includes HVAC Chillers and window AC) | Eric Lepore | Steve Cobb
Ice Makers | Doug Keefe | Alex Chevallard
Light Fixtures |  | John Bell
Lighting Fixing Controls |  | John Bell
Overhead Doors | Jason Coolbaugh | Dan Decker
Parking Garage | Rob Murray | Rob Murray
Pavement | Jim Toft | Jim Tofte
Portable Fire Extinguishers |  | Alex Chevallard
Pressure Vessels |  | Vince Knapp/Travis Fisher
Primary & Secondary Elec. Switchgear | Erich Reichard, Jeff LaPar | Erich Reichard/ Jeff LaPar
Pumps |  | Travis Fisher/ Tom Jordan
Quality Water Systems (and softeners) | Travis Fisher | Matt Johnston
Asset or System Name | SME | Program Author
Refrigeration Equipment (Process, chambers, and walk-in coolers and ultralows) regardless of owner |  | Eric Lepore/Pat Ockenfels
Roof Panel | Shane Dunn | Shane Dunn
Sidewalks | Jim Toft | Jim Tofte
Site Lighting | Mark Scholeno | Mark Scholeno/ Matt Johnston
Site Stairs |  | Ellen Chase
Steam Condensate Stations |  | 
Steam Traps |  | 
Sterilizers and Auto Claves | Eric Lepore | Marc Marinchak
Strainers / Filters |  | 
Sump Pumps |  | Travis Fisher/ Vince Knapp
Swimming Pools | Roy Baker | Asa Schindler
Unit Heaters |  | 
Valves |  | Mark Howe/Cole Tucker?
Vertical Conveyance Systems | Kevin Samson | Kevin Samson
Vertical Enclosures |  | Quin Olsen/Matt Reiter/Shane Dunn/ Elisabete
Waste Water Discharge Systems |  | Matt Kozlowski/Vince Knapp/Travis Fisher
Bulk Petroleum Storage |  | 
More Asset Management Plans (AMP)

## Slide 7
Aspirational Asset Audit & Update Process (work in progress):
Design teams will identify asset types included in the design documents and populate applicable characteristic information.
The contractor will then further update the list as they procure or install assets. They will also update asset types if they change in the course of construction. The construction team will attach operation and maintenance manuals to each individual asset.
The commissioning agent will audit the list and submit it to Facilities Management. Facilities Management will provide labels for installation by the contractor. The commissioning agent will audit the label installation.
Strategic Asset Management Plan
Any volunteers to help with this?