## Slide 1
Project Management – Professional Development Series
Facilities and Campus Services Engineering and Project Management
April 14, 2021

## Slide 2: Today’s Agenda
  Monthly Updates by Andrew Magré
    Revised Project Management Resources Page
    New Guidance Documents and Templates
    Quarterly Construction Report
    New Project Approvals Outlook Calendar
    MWBE Participation Percentage for Endowed Projects
    Transportation Assessment
  FE Minute: Design Standards Overview
    Erik Eshelman
  PM Minute: Project Status Update and Construction Impacts on Operations Reminder
    Andrew Germain
  Leadership Presentation
    Jess Cisco

## Slide 3
Animal Facilities (Gdoc)
Building Envelope Renewal (Gdoc)
Classrooms (Gdoc)
Electronic Safety & Security Systems (Gdoc)
Fire Extinguishers (Gdoc)
Historic Buildings - Municipal Approvals (Gdoc)
Ithaca Area Storm Water Compliance (Gdoc)
PM Engagement with AHJ (Gdoc)
Submittals (Gdoc)
Research Labs (Gdoc)
Pre-Bid Agenda (Template)
AE Selection (Templates)
Revised Project Management Resources Page
New Guidance Documents & Templates

## Slide 4
  Quarterly Construction Report
    The first quarter report is ready
    Increase in regional construction starts
    Tracking wood & steel price increases
    Recommend holding 4% escalation
  New Project Approvals Outlook Calendar
    Subscribe to new shared CF&PC and B&P Calendar on Outlook
    Includes PAR and presentation submission dates
    Go to “Open Shared Calendar” click on CF&PC Calendar
    Get in touch with Taylor if you need assistance gaining access

## Slide 5
  MWBE Participation % for Cornell Funded Projects
    For Cornell funded projects: We are no longer required to obtain the MWBE Calculation Worksheet when preparing front-end documents for bidding
    Be sure to use the updated General Conditions template and Bid Certification form located in eBuilder
    Campus Let/Public Bid projects are still required to provide the MWBE participation percentage and calculation worksheet
  Transportation Assessment in Project Budgets
    No longer required after July 1, 2021
    Funded by central appropriation

## Slide 6
Design Standards Overview
Notes: Introduction
Representing 30 members of Facilities Engineering

## Slide 7
  Why do we need standards?
  Philosophy
  What are design standards & details?
  Definitions
  Approach
  Statistics
  Variance Process
Outline
Notes: I am going to provide an overview of the Cornell University Design Standards today. We are going to cover the topics in the outline.

## Slide 8
Why do we need standards?
Notes: I thought I would start out with a funny clip about designing the complex systems which the campus community relies on.

## Slide 9: Why do we need standards?
100,000 Sprinklers
225 Sprinkler Systems
60 Miles of Sidewalks
100 Acres of Parking Lots
10 Miles of Roads
280 Elevators
26 LEED Certified Buildings
243,000 Ft of Steam Pipe
6,900 Under-ground Structures
145,000 Ft of Chilled Water Piping
22 Bridges
2,000,000 SF of Laboratory Facilities
Notes: Cornell University is a high-tech city with a complex physical plant
To demonstrate the complexity and scale of our campus we have assembled a few statistics.
Facilities professionals hold institutional knowledge and best practices about these various systems which allows us to provide expert advice and successfully guide consultants who don’t fully understand our challenges and climate.

## Slide 10
Philosophy
SD
DD
CD
BID
BUILD
OCCUPY
Window of Opportunity
Design Standards
Design Standards influence the design phase and are incorporated into the construction documents by the design professional.
Notes: Standards are provided to aid the design professional in the development of contract documents and are not intended to be used verbatim as a contract specification nor replace the work and best judgement of the design professional.
It is also key to understand the window of influence for the design standards. It is important to incorporate standards into the earliest point of design to minimize the cost impact on a project.
Once the construction documents are complete, the contractor will bid on the documents they are provided.

## Slide 11
Philosophy - Feedback Loop
Design
Construct
Occupy
Learn
Design Standards
Feedback Loop
Notes: Our standards are created and updated based on a continuous feedback loop where all of you play a role.
As facilities professionals we are always learning and finding ways to improve over time. This feedback loop provides the lessons learned to update our design standards and document that information for future projects.

## Slide 12
Philosophy
Chart: 
| HVAC | Fire Protection | Energy | IT | Furnishings
Series 1 | 50 | 55 | 55 | 50 | 50
DESIGN REQUIREMENTS
BUILDING CODE
EXTEND LIFE
HIGH ROI
CU STANDARDS
REDUCE O&M
SECURITY
QUALITY
Notes: It is important to note that the CU Design Standards do not replace building codes and industry standards but rather explain where Cornell is going above and beyond code minimums.
This graphic represents how Cornell goes above minimum code in several area. We chose to have higher standards than code minimum for several reasons:
To extend the service life (Cornell maintains buildings for centuries)
To reduce operation and maintenance costs and save Cornell money over the service life of the building
Due to a high return on investment in the case of energy conservation
Due to higher levels of security
Due to higher quality level expectations

## Slide 13
What are Design Standards & Details?
Written Standards & Guidelines
Standard Details
Notes: Facilities Engineering is the Curator of the Design Standards & Details.
There is a subject matter expert (SME) who lead the development of each standard.
Some SME’s are from Facilities Engineering and others are from units at Cornell like EHS, E&S, OUA, CIT, CU Police, Etc.
The SME tracks industry standards, trends, coordinates updates and gathers input from campus stakeholders.
The SME will also weigh in on variance discussions which we will discuss later in the presentation.

## Slide 14
Example Standard
033000 Cast-In-Place Concrete
Notes:   Each Design standard is unique in content based on the material or system. Some standards are a single page and others are over 30 pages long. The expectation is that the design professional responsible for each discipline is familiar with the particular design standard as they are designing your project. If the designer has questions related to the design standard, we can put them in touch with the Subject Matter Expert responsible for the standard.

## Slide 15: Example Details
Notes: Design Standard details are prescriptive in many cases, for instance the hydrant detail on the left. In other cases, details may be schematic in nature. For instance, the high-pressure steam schematic on the right. This is a schematic for an engineer to develop their design which allows CU to properly operate and maintain the steam system as the project ties into our district system.

## Slide 16
Definitions
Standards
High in authority and set specific minimum quality (Requirements, “Shall”)
No discretion (requires a variance)
Guidelines
Lower in authority, recommendation or best practice (Considerations, “Should”)
Allows for some discretion (discussion required)
“Should”
“Shall”
Standards and Guidelines are integrated into one document by topic based on CSI number.
Notes: As mentioned, the CU standards are organized by topic or material. Within each document you will find both prescriptive standards and general guidelines.
(Read slide text)
Standards should be incorporated into the project and guidelines should considered as part of the design process.
Example of shall and should…

## Slide 17
Approach
Organized by CSI Division
Division 1 – General Design
  Spaces
  Accessibility
  Safety
  Energy
  Programming
Division 2-43 – Technical Divisions
  Materials
  Systems
  Assemblies
Notes: Standards are generally organized by CSI format for the benefit of the design professional as they create the construction documents.
Division 1 covers general design topics including space, accessibility, safety, energy and programming. Examples include: Custodial standards and Green building guidelines
Division 2 – 43 covers technical divisions including building materials, systems and assemblies. Examples include: Door hardware, Roofing, Elevators, Electronic safety and security systems.
Most standards follow typical CSI specification categories including:
General Requirements which covers Basis of Design Criteria, Guidelines, Submittal requirements.
Products which includes specific materials or manufacturers
Execution which describes work procedures related to the specific standard

## Slide 18
Statistics
Design Standards – 103 Total
  Informs design and construction documents
Standard Details – 199 Total
  Starting point for construction documents
Review Period
  Goal to review once every two years
    Standards are reviewed, revised or removed
  Standards are added as a need is identified
Notes: As mentioned before, Cornell University is a high-tech city with a complex physical plant which has led over time to a robust set of Design Standards and Details.
Currently we have 103 unique written Design Standards which inform the construction documents and 199 Standard Details which act as a starting point for details within the construction documents.
Facilities Engineering and the designated SME are targeting to review the various standards once every two years.
The review may lead to no change, an update, the standard may no longer be needed.
If there are specific updates required due to a change in code or a lesson learned, a standard can be updated at any time working with the particular standard SME.
Also, as we learn as an organization, we can add new standards to address lessons learned or an industry change.

## Slide 19
Standard Variance
  Design review spreadsheet non-compliant checkbox
  Variance request in writing to the University Engineer
  Facilities Engineering will review the request & consult with the standard point-of-contact & SME
  The UE will respond with a determination
Notes: The particular design reviewer has the opportunity to identify a review comment as being non-compliant with CU Design Standards using the Master Review document found in eBuilder through the design review process. This will bring to the attention of the design team and PM where a non-compliant design issue occurs in the construction documents.
We understand that there may be unique situations where a variance may be required for a particular standard.
Please note that these considerations are rare when there is a true conflict with a required standard.
Standard variances should be made in writing to me as the University Engineer with supporting documentation for the request.
The standard variance request will be reviewed on a case-by-case basis and waivers may be granted after consultation with the standard SME and stakeholders.

## Slide 20
Thank You

## Slide 21: Project Status Update and Construction Impact on Operations

## Slide 22: Project Status Update (PSU) & Construction Impact on Operations
Monthly Project Status Update – GDoc
  Process & Expectations
  Key Data Points – Construction Impact
  Consistency & Reporting
Partnership & Communication
  Leverage PSU Process:
    Improve Campus Communication
Timeline:
  Spring/Summer 2020: Roll out
  Spring 2021: Guidance Doc: Further Guidance & Examples
Notes: Audience:
Who is this for?
Stakeholders, Project Directors, and Administration
Goal of the Project Status Update is to fully inform the project directors / Executives and Stakeholders of your project's status and overall direction without having to get involved themselves.
Directors/Stakeholders should be able to read the project status without having to reach out to the PM directly to find out where things are. A project manager is to create clarity from confusion for the project team and for management. Essentially, the task of a project status update is one of analysis and communication.

## Slide 23: Workflow: Project Status Update & Construction Impact Statement

## Slide 24
PSU & Impact Statement
  Who is the audience?
  What key Data?
  Why is it important?
  How are expectations met?
  When is it required?
  Tips & Examples:
Project Status Update (PSU) & Construction Impact on Operations

## Slide 25: Construction Impact Statement – eBuilder
Expectations – Update with monthly PSU
  Impact Statement (Optional – Update impact when known through the design process)
    Add Sketch to eBuilder to the Process
  Schedule (Construction Phase) Updated
  Annotate Map with proposed contact limit lines

## Slide 26: Construction Phase Impact Statement - GIS
Communication:
  Project Specific Info.
    Schedule Information
    Project Limit Lines
  Share with Campus Community
Consistent Deliverable (PDF):
  Project Details Page
  Project Status Update
  Project Schedule Module
  Annotated Image
Notes: e-Builder Mail Merge
  Project Details Page
    Project Name
    Project Manager
    eBuilder number
    Project Phase
  Project Status Update
    Impact Statement
  Project Schedule Module
    Construction Begins
    Construction Finishes
  Annotated Image
  - Google Earth
eBuilder Mail Merge
  Pull project data
  Create deliverable
eBuilder Notification
  Document Saved in eBuilder File Structure
  Message sent to OUA
ARC GIS – MAPs
  Link project data to Map

## Slide 27: Summer Operations
-Large and Small Facility Projects
-Transport and Utility Projects
-Municipal Projects
Notes: Disruptions from projects including to flow of vehicular and pedestrian traffic, staging and other effects highlighted

## Slide 28
Frank popowitch
GIS & Data Manager
Campus Planning Department
Cornell University
125B Humphreys Service Building
Ithaca, NY 14853-3701
Ph: (607) 254-1374
E-mail: fmp8@cornell.edu
Questions about the Map:
Please submit map updates by May 1

## Slide 29: Leadership Presentation