## Slide 1
The Authority Having Jurisdiction
Who is it and why are they bothering me?
Facilities Engineering
Ithaca, NY
272133
Notes: Introduction

## Slide 2: What is “the Authority Having Jurisdiction” (AHJ)?
Simply put – it is the person or people that have the authority to tell you what to do regarding your project as defined by law.
Building Code definition:
  The governmental unit or agency responsible for administration of the Uniform Code.
The Building Code definition is only concerned with Uniform Code.
  It is more complicated than that. There is more to the world than just Uniform Code.

## Slide 3: Where does the authority come from?
NYCRR Part 1203 is the NYS law with the requirements for a municipality’s code enforcement program.
Per Part 1203, a municipality must pass local laws that define who is the AHJ and provide for the required components of a code enforcement program.
This is different for each municipality.
NYCRR Part 1204 is the NYS law with the requirements for a State run code enforcement program.

## Slide 4: City of Ithaca AHJ’s for Uniform Code
Building Division is the AHJ for all the NYS Uniform Codes including NYS Fire Code.
  Mike Aiken is the City Code Official assigned to Cornell.
  Building Division is the AHJ for existing residential buildings.
  Building Division issues Building Permits and Certificates of Occupancy.
Ithaca Fire Department is also AHJ for NYS Fire Code based on local law.
  Ithaca Fire Department is AHJ for existing non-residential buildings.
  Ithaca Fire Department issues all Operating Permits.
    NYS is proposing changes to the operating permit requirements.

## Slide 5: Town of Ithaca AHJ for Uniform Code
Codes Division is the AHJ for all the NYS Uniform Codes including NYS Fire Code
Mark Stonier is the Town Code Official assigned to Cornell.
Ithaca Fire Department is NOT AHJ for NYS Fire Code in the Town, no local law. IFD can only provide input.

## Slide 6: NYS Variances
IFD Chief Parsons is the chair of the NYS Board of Review
  NYS Board of Review approves or denies all applications for a variance to the NYS Uniform Code
  Please review all variance applications with Building Code Program Manager Mike N. and with Associate University Counsel Jared Pitman.
  If going for a NYS variance to the Uniform Code you will need the support of the Fire Chief. Do not engage Fire Chief Parsons before reviewing the variance with Mike and Jared.
Cornell will not seek a variance to NYS Fire Code for residential occupancies.

## Slide 7: City of Ithaca AHJ meetings
City of Ithaca AHJ weekly meetings
  All Cornell Building Permits through this meeting
  Attendees: Shops representative, Project Managers, Consultants, Architects, Contractors, City of Ithaca Code officials
  Purpose: Present projects for City input, all applications for building permits
    Continued Venue for Shops to apply for City permits
    Opportunity for city officials to provide input on projects
    Focus on code related issues
    Project Managers required to attend
    Striving toward greater efficiency at the meeting; preliminary code discussion covered during office hours

## Slide 8: Town of Ithaca AHJ meetings
Town of Ithaca monthly meetings
  Attendees: Town of Ithaca Code official Mark Stonier, Project Managers, Project Designers
  Purpose: Discuss code related issues and problems
  Present projects
  No final decisions on codes will be provided, only code input
New program for submitting Building Permit
  Goal: Implementation end of November
  All permits, plans and payments through the program
  Will require establishing an account

## Slide 9: SUNY Code Enforcement Official
The new Ralph D’Amato is Jim Yarbrough
Jim is the AHJ for the Contract Colleges
  Contact information:
    607-220-3949
    jey38@cornell.edu
  Jim comes from the City of Ithaca Building Division where he was the Senior Code Inspector assigned to Cornell.
  Fire Department is not AHJ for State buildings.

## Slide 10: Other Responsible Parties in the City of Ithaca
Other Responsible Parties in the Town of Ithaca
Historic Preservation – Bryan McCracken, Planning Dept.
Site Plan Review – Lisa Nicholas, Planning Dept.
Zoning – Megan Wilson, Planning Dept.
Exterior Plumbing Permits – Dan Thaete, Town Engineer
Water and Sewer – Dan Thaete, Town Engineer
Site Plan Review – Sue Ritter, Planning Department
Other Responsible Parties - Cornell
Andrea Haenlin-Mott – ADA
Ron Flynn – University Fire Marshall

## Slide 11: Other AHJs for Uniform Code
Town of Dryden
  David Sprout
Village of Cayuga Heights
  Brent Cross
Town of Lansing
  Scott Russell
Tompkins County Health Department
RPZ backflow approval
Commercial kitchen approval

## Slide 12: Building Code Program Manager
That’s me – Mike Niechwiadowicz
  Commonly known as Mike N
  No longer AHJ for anything
  Code advisor for Cornell projects
  Consultant on code questions
  Liaison with the City Building Division and the Town Codes Division
    Conducts weekly meetings with the City Building Division
    Conducts monthly meetings with the Town Codes Division Mark Stonier

## Slide 13
Thank you
272133
Notes: Introduction