## Slide 1: Design Standards Overview

## Slide 2
Design Standards Overview

## Slide 3
  Why do we need standards?
  Philosophy
  What are design standards & details?
  Definitions
  Approach
  Statistics
  Variance Process
Outline

## Slide 4
Why do we need standards?

## Slide 5: Why do we need standards?
100,000 Sprinklers
225 Sprinkler Systems
60 Miles of Sidewalks
100 Acres of Parking Lots
10 Miles of Roads
280 Elevators
26 LEED Certified Buildings
243,000 Ft of Steam Pipe
6,900 Under-ground Structures
145,000 Ft of Chilled Water Piping
22 Bridges
2,000,000 SF of Laboratory Facilities

## Slide 6
Philosophy
SD
DD
CD
BID
BUILD
OCCUPY
Window of Opportunity
Design Standards
Design Standards influence the design phase and are incorporated into the construction documents by the design professional.

## Slide 7
Philosophy - Feedback Loop
Design
Construct
Occupy
Learn
Design Standards
Feedback Loop

## Slide 8
Philosophy
Chart: 
| HVAC | Fire Protection | Energy | IT | Furnishings
Series 1 | 50 | 55 | 55 | 50 | 50
DESIGN REQUIREMENTS
BUILDING CODE
EXTEND LIFE
HIGH ROI
CU STANDARDS
REDUCE O&M
SECURITY
QUALITY

## Slide 9
What are Design Standards & Details?
Written Standards & Guidelines
Standard Details
Standards are a contractual requirement for architects and engineers to incorporate in CD’s

## Slide 10
Example Standard
033000 Cast-In-Place Concrete

## Slide 11: Example Details
High Pressure Steam Schematic
Hydrant Detail

## Slide 12
Definitions
Standards
High in authority and set specific minimum quality (Requirements, “Shall”)
No discretion (requires a variance)
Guidelines
Lower in authority, recommendation or best practice (Considerations, “Should”)
Allows for some discretion (discussion required)
“Should”
“Shall”
Standards and Guidelines are integrated into one document by topic based on CSI number.

## Slide 13
Approach
Organized by CSI Division
Division 1 – General Design
  Spaces
  Accessibility
  Safety
  Energy
  Programming
Division 2-43 – Technical Divisions
  Materials
  Systems
  Assemblies

## Slide 14
Statistics
Design Standards – 103 Total
  Informs design and construction documents
Standard Details – 199 Total
  Starting point for construction documents
Review Period
  Goal to review once every two years
    Standards are reviewed, revised or removed
  Standards are added as a need is identified

## Slide 15
Standard Variance
  Design review spreadsheet non-compliant checkbox
  Variance request in writing to the University Engineer with description of variance and explanation of need
  Facilities Engineering will review the request & consult with the standard point-of-contact & subject matter experts
  The UE will respond in writing with a determination

## Slide 16
Thank You