## Slide 1: Asbestos Project Management May 2022 PMPD Training
Luke Thomas
LTT26@cornell.edu
607-227-9234
Cornell University
Environment, Health and Safety

## Slide 2: Objectives
Background
HS16 requirements
Project Manager Responsibilities
Facility Manager Responsibilities
Facility Survey Webpage
Incidental disturbance
Resources
Contact Info

## Slide 3: Background
Asbestos is used in a variety of building materials
  Used as a binder, fire/heat/chemical resistance, an insulator
  Can be found floor tile, sheet goods, mastics, roofing, pipe insulation, ceiling tiles, drywall, taping compounds, etc.
  See code rule 56-5.1(f) for more examples on suspect materials
    https://dol.ny.gov/system/files/documents/2021/03/icr56.pdf
Regulated by OSHA, EPA, NYS DOL

## Slide 4: HS 16 Asbestos Management Program
Covers roles and responsibilities for various groups
Regulatory requirements pertaining to surveys and abatement
Notifications
  Building Occupants
  Regulatory Agencies
  Contractors
  Labeling and Signage
Training

## Slide 5: Project Management Guidance Documents
Project Hazmat Procedure:
  Asbestos
  PCBs
  Universal Waste
  Mercury
FCS Asbestos Program Services
Pre-Design Phase: Task Authorization - Asbestos
CCF SUNY Asbestos Abatement Permit Request

## Slide 6: Project Manager Responsibilities
Identifying asbestos-containing building materials prior to maintenance, renovation, or other activities
Contracting with approved licensed asbestos consulting firms and abatement contractors
Issuing service requests for asbestos-related services
Report any incidental disturbances of asbestos-containing material as defined in the Project Hazmat Procedures and the Incidental Disturbance (SP 002) listed on the Asbestos webpage

## Slide 7: Project Manager Responsibilities – Newly Installed Materials
Ensuring contractor provides documentation to verify all new buildings and building renovation projects are asbestos-free as specified in section 7.0 (Newly Installed Materials) of the asbestos program and submit such documents to the Asbestos Coordinator
  Pre-installed or installed materials are to be surveyed and sampled by third party asbestos certified inspection firm for verification all building materials are asbestos-free material. Results sent to the FM Asbestos Coordinator
  PM responsible for scheduling post surveys.

## Slide 8: Facility Manager Responsibilities
Review work requests and evaluate the potential for work requested to impact ACM/PACM
Identifying, with the assistance of the Asbestos Coordinator, asbestos-containing building materials prior to maintenance, renovation, or other activities where asbestos-containing materials may be disturbed
Scheduling project dates with sufficient lead times for asbestos abatement
Where projects may impact or disturb ACM notify contractor or Cornell personnel performing the work of the presence of ACM
Maintain required asbestos signage as specified in section 6.0 of the asbestos program and in Asbestos Material Labeling (SP 003)
  Posted asbestos project occupant notifications on entrances to the facility
  Posted signage on mechanical room entrances

## Slide 9: Facility Asbestos Survey Webpage
To access the specific building information, go to Find Facility Information
  Currently 196 buildings complete
  Wall and ceiling survey summary only - Does not include floor tile or other materials unless specified
Contact the FCS Asbestos Coordinator if the material is not listed
A work order request will need to be issued to the FCS Asbestos coordinator to conduct sampling
Once received the Asbestos coordinator will contact the Environmental contractor to perform the survey and sampling for asbestos material
The results will be relayed to the requestor

## Slide 10: Asbestos Surveys
Click on Asbestos Survey Information

## Slide 11: Incidental Disturbance
Unintentional disturbance of asbestos-containing material (ACM) or presumed asbestos-containing material (PACM).
The clean-up of an incidental disturbance must be conducted by a licensed asbestos abatement contractor.
An environmental consultant under the direction of the Asbestos Coordinator will oversee the clean-up response.
In the event an incidental disturbance of asbestos is encountered, the following protocol shall be followed:
  Do not attempt to clean up the ACM or PACM
  Immediately vacate the room and restrict access to the room using signage and barrier/caution tape
  Issue an emergency Request for Service to the Asbestos Coordinator by contacting Customer Service at 255-5322. State that you have an “asbestos incidental disturbance”

## Slide 12: References and Resources
EHS Asbestos Webpage
  HS16 Asbestos Program
  Incidental Asbestos Disturbance
  Asbestos Material Labelling
  Potential Asbestos Containing Material Building Products
Facilities Lookup – Asbestos Surveys
NYS DOL Code Rule 56
Project Hazmat Guidelines
FCS Asbestos Program Services
Pre-Design Phase – Task Authorization – Asbestos
CCF SUNY Asbestos Abatement Permit Request
CU Learn – Asbestos Awareness Training (EHS 2384)

## Slide 13: Contact Information
Facilities Environmental Resources Group – New for 2022
  Fac-envr-rscs@cornell.edu
Dale Houseknecht
  DWH5@cornell.edu
  607-327-1359
Barbara Woods Walpole
  607-254-5465
Luke Thomas
  LTT26@cornell.edu
  607-227-9234