## Slide 1: Bird Friendly Building Design for New Construction Standard
September 27, 2022
Notes: JS and Nadine Introduc

## Slide 2
  Introduction of Cornell University Standards Team
  Purpose and Need
  Precedents and Related Standards
  New Construction Examples at Cornell University
  Key Aspects of the Standard
  Costs
  Existing Conditions
  Questions
Bird Friendly Design for New Construction Standard
Notes: JS

## Slide 3
  Lab of Ornithology (Lab of O)
  Miyoko Chu, Senior Director, Science Communications
  American Bird Conservancy (ABC)
  Christine Sheppard, Director, Glass Collisions Program
  Bryan Lenz, Glass Collisions Program Manager
  Facilities and Campus Services (FCS)
  J Shermeta, Associate University Architect
  David Cutter, University Landscape Architect
  Nadine Hachmann, Section Manager Architecture & Civil Engineering
Cornell University Bird Friendly Design Standards Team
Notes: JS

## Slide 4
  Collisions with glass claim the lives of millions of birds every year. Birds are unable to pick up clues that windows are present and frequently don’t survive the impact. Because of this, cities and states in North America are adopting bird-friendly guidelines to improve the bird safety of building materials and designs.
  The Cornell campus is renowned for the wealth of the natural environment from the Botanic Gardens and the Arboretum to the gorge woodlands settings, birds of many varieties, consider Cornell their home.
  The purpose of this standard is to reduce bird strikes on new construction on the Ithaca campus.
Purpose and Need
Notes: Nadine

## Slide 5
General Services Administration P100
In June 2020, the House of Representatives passed H.R. 2, the Bird Safe Buildings Act, which mandates all public buildings managed by GSA to be designed or altered in a bird friendly manner.
LEED Credit #55: Reducing Bird Collisions
  Leadership in Energy and Environmental Design (LEED) acknowledges the importance of bird-friendly design and related measures through an INNOVATION credit.
  In addition, taking steps to reduce bird collisions with glass supports the intention of Executive Order 13186: Responsibilities of Federal Agencies to Protect Migratory Birds.
The Yale Bird-Friendly Building Initiative
Princeton University Bird Safe Building Design
University of Pennsylvania Bird-Friendly Design Guidelines
Precedents and Related Standards
Notes: JS

## Slide 6
Thurston Hall Addition
  Local Law 15 of 2020
  Requires 90% of envelope for first 75 feet of new construction and major alterations that replace all exterior glazing be made of bird-safe materials
  Effective January 10, 2021
Notes: JS

## Slide 7
  Key Takeaways:
  Develop site design and building shape to mitigate bird strikes
  Fritted glass or UV reflective glass on large areas of glazing
  Prioritize large glazed areas near landscaped elements such as roof gardens, glass corners, and glass building connectors for bird friendly materials
  Design team to explore appropriate pattern based on building and material design
  Cost for addition of frit pattern to be tracked through each phase
Bird Friendly Design for New Construction
Notes: Nadine

## Slide 8
Bird Friendly Design for New Construction
Notes: Nadine

## Slide 9
Frit Patterns
Northwestern University FieldHouse, Perkins + Will 2018
Notes: Nadine

## Slide 10
Multidisciplinary Building – Atkinson Hall
Notes: JS

## Slide 11
Multidisciplinary Building – Atkinson Hall
  Glass ceramic frit pattern :
  1/8” thick vertical lines on 2” centers on all large glazed openings
Notes: JS

## Slide 12
Thurston Hall Addition
Notes: JS

## Slide 13
Thurston Hall Addition
  Ornilux Glass with patterned UV reflective coating
Notes: JS

## Slide 14
CIS Building
Notes: JS

## Slide 15
CIS Building
  Glass ceramic frit pattern
  1/8” thick vertical lines on 2” centers on all large glazed openings
Notes: JS

## Slide 16
Cost
Standard commercial Double Insulated Glass Unit = $15/sf
Standard 6” curtain wall installed = $110/sf
With a frit pattern = add $20/sf for bird safe frit pattern = $130/sf
UV reflective coating = add $30/sf for bird safe UV reflective coating = $140/sf
10’ x 10’ area of standard 6” curtain wall with bird safe frit pattern = $13,000/100 sf
10’ x 10’ area of standard 6” curtain wall with UV reflective coating = $14,000/100 sf
Notes: Nadine

## Slide 17
Existing Conditions
  What are the opportunities on the Cornell University Campus to treat existing glass to reduce the hazards to birds?
  Lab of Ornithology has completed a pilot program on glass facades at their facility and selected Acopian Birdsavers.
Notes: JS

## Slide 18
Existing Conditions
  Following 4 bird strikes at Stocking Hall the Lab of O and ABC met with facilities directors and building managers to discuss the window strikes. Lab of O and ABC are providing an estimate for retrofits on the breezeway glass for two options, adhesive film and acopian birdsavers.
  Lab of O and ABC are actively engaged with two donors interested in funding a student-led monitoring program and providing matching funds to help offset costs of retrofits—which could apply across different buildings.
If a pattern is applied to the interior surfaces of glass, it is only visible if the glass has less than 15% reflectivity. During design phase, discuss reflectivity of glass with design team.
Notes: JS

## Slide 19
Cost Comparison
With acopian birdsavers = add $10/sf for paracord and installation
With bird friendly adhesive film = add $14/sf for bird friendly adhesive film
With a frit pattern = add $20/sf for bird safe frit pattern
Lifetime expectancy of adhesive film is +/- 15 years.
Advantage to frit patterned glass is no maintenance, frit pattern will last for the life of building. A frit pattern also decreases solar heat gain.
Acopian birdsavers has a higher effectiveness rating but not practical for many installations
Notes: Nadine

## Slide 20
Questions?
    The Bird Friendly Building Design for New Construction Standard is in the General Design Requirements
    The cost to retrofit far exceeds the first time cost for bird friendly design
2 takeaways
Notes: JS