## Slide 1: Audio-Visual and Classroom Technologies 2023 Standards Update

## Slide 2: Audio-Visual Standards
Launched in late 2021
  Underlying technology and functionality standard completely revised
  Updated Functionality & Price Comparison catalog
  Campus representation from all colleges, Research, Library, and SCL
What’s changed
  Room Technology Types are now functional labels
    Type 100  Standard Classroom
  Added basis of design options in response to supply chain
  Aligned with FIS room types
  https://it.cornell.edu/av-installation/av-standards PDF password: CUDesign

## Slide 3: Audio-Visual Standards
What’s next
  User experience-focused standard is underway
    Teaching station layout
    User interface
    Support contact information/protocols
  Updated infrastructure reference drawings
  Update to Division 27 audio-Visual Communication

## Slide 4: Cost Recovery AV Installation Service
Service launched in late 2021 – well received
  95 rooms updated in past 14 months
  103 rooms in the queue Classrooms, conference rooms, private offices, huddles
  Significant cost and time savings
Many productivity improvements
  Faster and more cost effective
  Creates more consistent outcomes
  Simplified ongoing support
  Addresses IT complexity
  https://it.cornell.edu/av-installation/
Chart: Cost per Installation
| Conference room average estimate | Standard classroom average estimate | Uris Hall G08 actual
CIT | 7890 | 35069 | 33705
Vendor | 18198 | 39262 | 41318