## Slide 1
Update – City Code Process
Michael Niechwiadowicz
Building Code Program Manager
Facilities Engineering
Oct0ber 25, 2023
272133
Notes: Introduction

## Slide 2: Changes in the City of Ithaca
Permit applications
Permit Fees
But first, reminder on inspections…

## Slide 3: Code Required Inspections
NYS law requires code officials to inspect for code compliance
  NYS has an oversite division that audits municipalities for compliance.
Owner is responsible for setting up the inspections.
  But the contractor does that…
  If the owner has set it up so the contractor is responsible for the inspections, owner must make sure contractor does it.

## Slide 4: Code Required Inspections
NYS law requires the AHJ to require the work remain exposed until inspected
  Each authority having jurisdiction shall include in its code enforcement program provisions requiring work for which a permit has been issued to remain accessible and exposed until inspected and accepted by the authority having jurisdiction and requiring building permit holders to notify the authority having jurisdiction when construction work is ready for inspection.

## Slide 5: What Is Required To Be Inspected
Another acronym to add to the Cornell world of acronyms
EBC
  Email before covering
  In the City, email Mike Aiken – maiken@cityofithaca.org
  This is the simplest way.
  Inspection list can be provided but it is general.

## Slide 6: Back to Changes in the City of Ithaca New Process for Permit Applications in the City of Ithaca
All permit applications must be submitted through OpenGov
  Requires that you setup an account
  Town of Ithaca is already using OpenGov
    If you have an account on the Town’s OpenGov, same account with work for the City
    Lansing will likely also move to OpenGov

## Slide 7: Permit Applications in the City of Ithaca Continued
The Tuesday City Code meetings will continue
  If a building permit application is submitted through OpenGov, you must come to the City Code meeting and present the project.
  Bring a hard copy of plans to the meeting. Attach a soft copy of plans and specifications to the application through OpenGov.
    If over 100MB, you will have to bring a copy of the plans and specifications on a flash drive to the meeting.

## Slide 8: Permit Applications in the City of Ithaca Continued
Link to OpenGov
  https://ithacacityny.portal.opengov.com/categories/1071
  Project managers have to setup an account
  Contractor and others can also set up an account
  Project managers or contractors can apply for the permit
    Whoever applies for the permit has control of the project
    Can add ‘guests’ to the project, guests must have an account
      If contractor applies, have the contractor add the project manager as a guest, subcontractors can also be added
      If the project manager applies, add the contractor as a guest
    Whoever applies for the project and all the guests can monitor the project and get notifications

## Slide 9: Permit Applications in the City of Ithaca Continued
Add Paula Slocum to the project
  Paula has to complete some administrative tasks
    Upload to eBuilder, archive documents
  You can keep Paula as a guest until the permit is issued
    Paula will not get flooded with notifications
  But you will have to put Paula back on at the time of completion so that she can upload and archive close out documents
    Or you can email all the documents to Paula

## Slide 10: Permit Applications in the City of Ithaca Continued
Whoever fills out the building permit application
  Put the eBuilder number in the ‘Notes’ field
  Put Cornell in the owner’s field
  The owner’s address will self populate
    The program will provide a box number as the address for Cornell
    Overwrite the box number with the address for Humphreys Service Building
      639 Dryden Road
  Use your email address for the contact email

## Slide 11: Permit Applications in the City of Ithaca Continued
Whoever fills out the building permit application
  Attach a copy of the drawings
  Attach a copy of the specifications
  Attach a copy of any other project documents
  Attach a copy of your insurances
    Documentation of insurance must be attached to the application every time
    Workers compensation, disability and liability insurance
  There is a 100MB limit on attachments
    If you exceed the limit, bring a copy on a flash drive to the City Code meeting

## Slide 12: Permit Applications in the City of Ithaca Continued
Some difference between the City application and the Town
  Once the application is filled out you will be asked to pay
    Payment is by credit card or check
      There is a third-party fee for using a credit card – 2.99% plus $0.99
    Electric Permits may be different
      Pay the base fee at time of application
      Invoice sent after completion of the work
    Town sends an invoice after they review the application

## Slide 13: Permit Applications in the City of Ithaca Continued
Permit applications through OpenGov:
  Building permit applications
  Demolition permit applications
  Electrical permit applications
  Plumbing permit applications
  Tent or membrane permit applications
  Sign permit applications
  Temporary structure permit applications
  Water heater permit applications

## Slide 14: Permit Applications in the City of Ithaca Continued
Not yet:
  Fire protection system permit applications
  Site plan review applications
  Applications for Certificates of Appropriateness (Historic approval)
  Street permit applications
For Site Plan Review and Historic Review, a building permit number is required
  Permit number is generated when the building permit application is submitted

## Slide 15: Permit Fee Changes in the City of Ithaca
Fees have increased
  Building permit fees
    Base fee for construction cost $0 to $5,000 going up from $35 to $50
    Construction cost between $5,001 - $50,000 = 1%
    Construction cost between $50,001 - $500,000 = 0.9%
    Construction cost between $500,001 - $5,000,000 = 0.8%
    Construction cost over $5,000,000 = 0.7% no change
  Electrical permit fees
    Simplified
  Plumbing permit fees

## Slide 16: Back to Changes in the City of Ithaca
There is a guidance document on this.
When is all this happening
  It already happened on September 18th
Questions about OpenGov
  First, try to figure it out
  Mike Aiken is willing to try to answer questions
    Please be considerate, he is learning the program same as you and he has his regular job to do

## Slide 17: Update On 2024 NYS Code Adoption
NYS Codes Division official statement
  2024 NYS Codes will be adopted by the early 2025
  New NYS Energy Code will be basically the current NYS Energy Stretch Code
2026 Updated local energy code supplement

## Slide 18
Thank you
272133
Notes: Introduction