## Slide 1
Project Management – Professional Development Series
Facilities and Campus Services Engineering and Project Management

## Slide 2: Ithaca Energy Code Supplement Renewable Energy Strategy

## Slide 3
IECS Applicability for Ithaca Campus
Projects that are applying for a building permit within the City or Town of Ithaca
  All new construction
  All additions 1,000 square feet or larger
  Major renovations > 75% of floor area
“Net zero energy” required as of Jan 2026
  Requires new renewable energy installation (e.g. rooftop solar) and/or renewable energy credits (RECs) from the existing campus solar installations
3

## Slide 4: Challenge - There aren’t enough existing RECs to support the long-term capital plan and pending new requirements for existing buildings - Rooftop solar installations aren’t an effective solution Goals - Secure qualifying RECs for capital projects at a predictable cost - Leverage federal and state rebates (40-50% of cap ex) for new build - Strategically support the campus energy transition and carbon neutrality goal Solution - Projects “buy” RECs from the existing campus REC supply to comply with IECS 1) Must still comply with NY Stretch Code = solar ready - FCS Engineering develops up-front projections for projects 1) REC cost set at a rate equivalent to the estimated net “replacement” cost 2) Quantity of RECs estimated by building type and size - Budget in FPARs based on initial building type/size, true-up with final energy model - E&S aggregates funds for strategic campus energy transition projects to replenish the REC pool and/or reduce the carbon intensity of campus energy
AVOID  REDUCE  REPLACE  OFFSET/REMOVE
Notes: New policy
Where will info reside
  Separate document, live on D&CS website and PM checklist
  Update the replacement cost info on some basis (Matt's team)
If project requires RECs for compliance
  Req'd to purchase from university
Sq ft based estimate based on building type
  Lab has avg energy use = $ to budget
Final number developed when final energy model completed and provided to city/town for IECS compliance plan. Whatever number of RECs is there is the basis for the charge
Has to be paid with project money
  mechanism being determined with Kelley and Emily
Reinforce policy of avoid, reduce, replace, offset and
Project comply with NY Stretch code = solar ready for future opportunity

## Slide 5: Win-Win Compliance certainty – using available RECs shields individual projects from changes in regulation and market/supply chain Budget certainty – accurately estimate the cost of compliance early in the project planning process and build it into the budget, shields the project from market fluctuations Cost advantages – projects only need to find cap ex to cover the net cost, about half of total cost, and avoid administrative hassle of managing rebates which can take up to 2 years beyond when the project is put in service to recover. Aggregated campus projects can leverage economies of scale Operational advantages – the campus can build projects where and when it makes sense in the context of the campus energy transition, and avoid installing projects that don’t make sense for our campus by strategically leveraging the existing REC supply
Notes: This strategy has financial and functional benefits.
Financially, it equitably distributes IECS renewable energy compliance costs to the individual projects and provides a way to estimate for project compliance cost budgeting early in the project development cycle.
Further, it supports leveraging the significant funding newly available from the federal Inflation Reduction Act (IRA) in the form of direct-pay rebates to subsidize renewable energy projects (up to 50% of costs).
The IRA rebate cycle coincides with the post-occupancy tax year and may take several months to process. This creates funding and timing barriers for Cornell capital projects that may otherwise be able to cover the net costs of construction of renewable energy. Functionally, the capacity for installation of renewables on individual building rooftops for specific projects is often mismatched with the IECS requirement in a number of ways (e.g. size, roof characteristics, etc.) and can contribute to increased roof maintenance costs.
Aggregating project funds avoids illogical new infrastructure that is challenging to maintain in favor of prioritizing projects that advance the campus energy transition at scale. The campus can leverage the RECs from the existing renewable energy portfolio strategically to comply with local and state requirements, while advancing the carbon neutrality goal, reducing financial risk, enhancing campus energy resiliency, and optimizing campus living lab opportunities.
Capital projects will continue to be constructed as nominally solar-ready to meet NY Stretch Energy Code requirements. This pre-positions facilities for the possible future addition of solar renewable energy systems, should it become necessary, by providing interior electrical pathways, structural design capacity within the building framing to support roof loads associated with solar panel equipment, and space within electrical rooms for future equipment installation.

## Slide 6
Category | Improvement | Step 2 Points | Details | Targeted Credits
Affordability Improvements |  |  |  | 
AI2 | Heating systems in heated space | 1 | Heating systems installed in directly heated spaces | Likely
AI3 | Efficient building shape | 1 | Exterior Surface Area/Floor Area < Max Value | Possible
AI4 | Right-lighting | 1 | Space-by-space LPD | Likely
AI5 | Modest WWR | 1 | WWR < 20% | Possible
Renewable Energy |  |  |  | 
RE1 | Renewable energy systems | 1-6 | Up to 6 points for on-site and/or off-site renewable energy | See Renewable Energy Policy
Other Points |  |  |  | 
OP1 | Development Density | 1 |  | Likely
OP2 | Walkability | 1 |  | Likely
OP5 | NY Stretch Code-2020 | 1 | Comply with NY Stretch Code | See Standard 018110
OP6 | Custom energy improvement | 1-2 | Reduction in site energy use | Likely
Easy/Prescriptive Path: 12 IECS Points for Prescriptive Path OR Whole-Building Modeling Path: 7 IECS Points + 17 LEED EA Points |  |  |  | 
Compliance Paths – 2023 Updates
Notes: 018110 Energy Efficiency and Sustainable Design Standard – latest publication December 2022

## Slide 7
Compliance Paths – 2026 Updates
Effective January 1, 2026, all buildings shall be built to have net-zero GHG emissions and shall not use on-site FOSSIL FUELS for space heating, water heating, or clothes drying
COMMERCIAL BUILDINGS (including RESIDENTIAL BUILDINGS with 4+ Stories) shall comply with the requirements of the ZERO Code.
The ZERO Code is available at https://zero-code.org
The primary goal of each project is to target GHG reductions in accordance with the Cornell Climate Action Plan as follows:
AVOID carbon-intensive activities;
REDUCE demand through aggressive energy conservation;
REPLACE fossil fuels with low-carbon renewable energy
018110_Energy Efficiency and Sustainable Design Standard.pdf (cornell.edu)
018130_Appendix A_2019.03.28.pdf (cornell.edu)
Notes: Increaslingly important to obtain energy modeling updates throughout the design phases.
Cornell is working with the City and Town of Ithaca to understand which components of Zero Code will pertain to the Ithaca Energy Code Supplement, beginning in 2026.